## COVER PAGE
Owner
IO LIST
DOCUMENT NUMBER :
Rev | Date | Purpose of Issue | Prepared By | Checked By | Approved By
ENGINEERING CONSULTANT

## NOTES
OWNER | [7 empty] | ENGINEERING
PROJECT | [7 empty] | DOCUMENT TITLE: | [7 empty] | CLIENT DOCUMENT NO
IO LIST
REV :
|  |  |  | AI | AI-R | AO | AO-R | DI | DI-LCP | DO | DO-R | AI-MCC | AO-MCC | DI-MCC | DO-MCC
|  | PCS | I/O Count
20% Spare
Total
NOTES:
1.ALL LIMIT SWITCHES FOR ON-OFF VALVES SHALL BE POTENTIAL FREE SPDT CONTACT TYPE.
2. VTA :- VENDOR TO ADVISE
3. CALIBRATION RANGE , SET POINT AND ALARM VALUES SHALL BE UPDATED IF ANY CHANGES ARE MADE
4. ALL ESD AND F&G SYSTEM I/O SHALL BE CONSIDERED AS REDUNDANT.
LEGENDS
|  | AI | - | ANALOG INPUT
|  | AO | - | ANALOG OUTPUT
|  | AIR | - | ANALOG INPUT REDUNDANT
|  | AOR | - | ANALOG OUTPUT REDUNDANT
|  | DI | - | DIGITAL INPUT
|  | DIP | - | DIGITAL INPUT PROXIMITY TYPE
|  | DO | - | DIGITAL OUTPUT
|  | DOR | - | DIGITAL OUTPUT REDUNDANT
|  | MCC | - | MOTOR CONTROL CENTER
|  | VFD | - | VERIABLE FREQUENCY DRIVE
Rev | Date |  | Description | [10 empty] | Prepared |  | Engineer | Approved

## IO LIST
OWNER | [16 empty] | Document Number |  |  |  |  | ENGINEERING :
|  |  | IO LIST | [13 empty] | Revision
Page Number
Sr.No | Field Tag Number | System Tag Number | Service | Instrument Type | Instrument Description | P&ID No. | Equipment No/Line no | Signal Type | Signal Power | Signal |  | Scale Range |  | Setpoint | Engg Unit | Alarm /Trip |  |  |  | Controller Action(Direct/Reverse) | CV Failure Position(Open/Close) | Line Monitoring | Alarm Priority | Revision | Remarks
[10 empty] | Source | Destination | Lo | Hi |  |  | LL | L | H | HH
1 | WOIN-FIT-xxxx | WOIN-FIT-xxxx | Tank V-201 | FIT | DP (Flow ) Transmitter | xxxxxxxx-WOIN-P-PID-xxxx-xx | S | AI | 2 wire / 4-20 mA | FIELD | PCS | 10 | 100 | 50 | m3/hr | 11 | 15 | 70 | 80 | - | - | - | -